## Intro
Please select which Inquiry form applies from Link below or the Worksheet Tabs
Oily WW: for Waste Waters that require removal of petroleum hydrocarbons
General: for all other Waste Waters

## Oily WW
INQUIRY FORM Produced Water
Contact details:
Contact person name
Contact person position/department
Company name
Company website
| DUNS number (unique numeric company identifier)*1 |  | http://www.dnb.com/duns-number/lookup.html
Project name/reference
Email
Phone
Address
City
Country
Inquiry date
Description of waste water source(s) and project
Feed characteristics: |  | Values | Remarks
| Flow rate (m3/h) |  | min/avg/max
| Temperature (C) |  | min/avg/max (note temp. should preferably be <40 C)
| Pressure (barg) |  | min/avg/max (note max. pressure drop over MPP system is 3 bar)
Feed Composition:
| TDS (mg/l) |  | min/avg/max
| TSS (mg/l) |  | min/avg/max (note preferably nature of TSS and/or particle size distribution)
| pH |  | min/avg/max
| Dispersed oil (mg/l) |  | min/avg/max; Preferably C6 – C40 distribution; info on possibility of slugs
| Benzene (mg/l) |  | min/avg/max
| Toluene (mg/l) |  | min/avg/max
| Xylene (mg/l) |  | min/avg/max
| Ethyl-Benzene (mg/l) |  | min/avg/max
| PAH (mg/l) |  | min/avg/max
Presence of other compounds like anti scaling, corrosion inhibitors etc.
Other compounds that need to be removed:
Discharge requirements:
Max. discharge temperature (C)
| Dispersed oil (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| Benzene (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| Toluene (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| Xylene (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| Ethyl-Benzene (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| PAH (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
Other compounds that need to be removed:
| 0 |  | please indicate grab/composite (24 h/weekly etc.).
| 0 |  | please indicate grab/composite (24 h/weekly etc.).
| 0 |  | please indicate grab/composite (24 h/weekly etc.).
Utilities:
| Cooling water |  | please indicate availability/temperature and pressure
| Steam |  | please indicate availability/temperature and pressure LP steam: 115 C, 1.7 bar is sufficient
If no steam available (i.e. steam generator by MPP):
| Demin water |  | please indicate availability/temperature and pressure
If no Demin water available:
| Service/potable water |  | please indicate availability/temperature and pressure
Heat sources for Steam Boiler:
| Hot Oil |  | please indicate availability/temperature and pressure
| Hot Water |  | please indicate availability/temperature and pressure
Fuel gas/Diesel/Natural gas etc.
Power (Voltages & max. kW)
Environmental conditions:
On-shore/near sea/off-shore
In door/out door
| Temperature |  | min./avg./max.
Space limitations
Any other remark
Note: 1. DUNS number is a unique numeric company identifier by Dun & Bradstreet.
Note on D19: Write any relevant notes here.
Note on D20: Write any relevant notes here.
Note on D21: Write any relevant notes here.
Note on D23: Write any relevant notes here.
Note on D24: Write any relevant notes here.
Note on D25: Write any relevant notes here.
Note on D26: Write any relevant notes here.
Note on D27: Write any relevant notes here.
Note on D28: Write any relevant notes here.
Note on D29: Write any relevant notes here.
Note on D30: Write any relevant notes here.
Note on D31: Write any relevant notes here.
Note on D32: Write any relevant notes here.
Note on D33: Write any relevant notes here.

## General
INQUIRY FORM
Contact details:
Contact person name
Contact person position/department
Company name
Company website
| DUNS number (unique numeric company identifier)*1 |  | http://www.dnb.com/duns-number/lookup.html
Project name/reference
Email
Phone
Address
City
Country
Inquiry date
Description of waste water source(s) and project
Feed characteristics: |  | Values | Remarks
| Flow rate (m3/h) |  | min/avg/max
| Temperature (C) |  | min/avg/max (note temp. should preferably be <40 C)
| Pressure (barg) |  | min/avg/max (note max. pressure drop over MPP system is 3 bar)
Feed Composition:
| TDS (mg/l) |  | min/avg/max
| TSS (mg/l) |  | min/avg/max (note preferably nature of TSS and/or particle size distribution)
| pH |  | min/avg/max
Organic compounds:
| Dispersed oil (mg/l) |  | min/avg/max; Preferably C6 – C40 distribution; info on possibility of slugs
| Compound 1 |  | min/avg/max
| Compound 2 |  | min/avg/max
| Compound 3 |  | min/avg/max
| Inorganic compounds |  | min/avg/max
| Iron (2+ & 3+) |  | min/avg/max
Calcium
Magnesium
Chloride
Any other relevant compound (COD, BOD, AOC etc.)
Any other relevant compound (COD, BOD, AOC etc.)
Any other relevant compound (COD, BOD, AOC etc.)
Discharge requirements:
Max. discharge temperature (C)
| Dispersed oil (mg/l) |  | please indicate grab/composite (24 h/weekly etc.).
| Compound 1 |  | please indicate grab/composite (24 h/weekly etc.).
| Compound 2 |  | please indicate grab/composite (24 h/weekly etc.).
| Compound 3 |  | please indicate grab/composite (24 h/weekly etc.).
| Any other relevant compound (COD, BOD, AOC etc.) |  | please indicate grab/composite (24 h/weekly etc.).
| Any other relevant compound (COD, BOD, AOC etc.) |  | please indicate grab/composite (24 h/weekly etc.).
| Any other relevant compound (COD, BOD, AOC etc.) |  | please indicate grab/composite (24 h/weekly etc.).
Utilities:
| Cooling water |  | please indicate availability/temperature and pressure
| Steam |  | please indicate availability/temperature and pressure LP steam: 115 C, 1.7 bar is sufficient
If no steam available (i.e. steam generator by MPP):
| Demin water |  | please indicate availability/temperature and pressure
If no Demin water available:
| Service/potable water |  | please indicate availability/temperature and pressure
Heat sources for Steam Boiler:
| Hot Oil |  | please indicate availability/temperature and pressure
| Hot Water |  | please indicate availability/temperature and pressure
Fuel gas/Diesel/Natural gas etc.
Power (Voltages & max. kW)
Environmental conditions:
On-shore/near sea/off-shore
In door/out door
| Temperature |  | min./avg./max.
Space limitations
Any other remark
Note: 1. DUNS number is a unique numeric company identifier by Dun & Bradstreet.
Note on D19: Write any relevant notes here.
Note on D20: Write any relevant notes here.
Note on D21: Write any relevant notes here.
Note on D23: Write any relevant notes here.
Note on D24: Write any relevant notes here.
Note on D25: Write any relevant notes here.
Note on D27: Write any relevant notes here.
Note on D28: Write any relevant notes here.
Note on D29: Write any relevant notes here.
Note on D30: Write any relevant notes here.
Note on D31: Write any relevant notes here.
Note on D32: Write any relevant notes here.
Note on D33: Write any relevant notes here.
Note on D34: Write any relevant notes here.